Memorandum

To:  	Hospitalists and ED Providers

From:  	David Blin – Director, Laboratory Services

Thomas Suppan, MD – Medical Director, Laboratory Services

Date:  	June 23, 2026

Re:  	Multistep Algorithm for C. difficile Testing – Aligns with CDC and IDSA/SHEA

NMC Laboratory uses a multistep algorithm for C. difficile infection (CDI) testing to improve diagnostic accuracy, reduce unnecessary antibiotic treatment, and support antimicrobial stewardship. This approach aligns with CDC and IDSA/SHEA guidance. Results should be interpreted based on the patient’s history and clinical presentation.

# CLOSTRIDIUM DIFFICILE SCREEN (Orderable) - C. DIFF QUIK CHEK COMPLETE®

This rapid immunoassay detects GDH antigen and toxins A/B. GDH screens for C. difficile whereas toxin detection supports active toxigenic infection.

| CLOSTRIDIUM DIFFICILE SCREEN |  |  |
| --- | --- | --- |
| Result | Interpretation | Action |
| GDH Antigen (+) / Toxins A or B (+) | Confirmed CDI | Treat |
| GDH Antigen (−) / Toxins A or B (−) | CDI unlikely | Do not treat |
| GDH Antigen (-) / Toxins A and B (+) | Indeterminate → reflex PCR | Clinical correlation required |

Indeterminate results automatically reflex to PCR/NAAT.

# DIFFICILE TOXIN PCR (Reflex only – not orderable) - Cepheid Xpert® C.difficile/Epi Assay

Detects toxin B gene sequences and presumptively identifies 027/NAP1/BI strains of toxigenic Clostridium difficile using automated real-time PCR.

PCR alone is discouraged because it may detect colonization rather than active toxin-mediated disease, increasing overdiagnosis and overtreatment.

| Why PCR Alone Is Discouraged for C. difficile Testing |  |  |
| --- | --- | --- |
| Issue | Why It Matters | Impact |
| Detects genes, not toxin | Identifies toxin genes but not active toxin production | Misidentifies colonization as infection |
| Cannot distinguish colonization | Positive in both infection and asymptomatic carriers | Poor clinical specificity |
| Overly sensitive | Detects low/irrelevant organism levels | Overdiagnosis of CDI |
| Drives overtreatment | Leads to unnecessary antibiotics and isolation | Patient harm, ↑ cost, ↑ Length Of Stay |
| Impacts quality metrics | Inflates CDI rates and NHSN SIR | Financial and reporting consequences |
| Not guideline-preferred | CDC/IDSA recommend multistep testing, not NAAT alone | Deviates from best practice |
| The molecular "C.DIFFICILE TOXIN PCR" is performed only as a reflex and is not available as a separately ordered test. All other requests for this test must be approved by the NMC Infection Control Practitioner or on-call Pathologist. |  |  |

Please contact the Laboratory (802-524-1070) with any questions or concerns.